             Table 1.  MARCOPOLO CORRECTIVE ACTION PLAN

	Location
	Plant Name
	Action
	Implementation Time
	Associated Costs

	BRAZIL

	Caxias Do Sul, RS
	Corporative
	Develop a Corporate Environmental and Health and Safety Management System (EMS)
	July 2003
	R$ 55,000

	
	
	Implement the Corporate EMS
	September 2003
	R$ 10,000

	
	Ana Rech
	Air emission monitoring results from boilers, paint booths and welding operations and corrective actions as needed
	December 2002
	R$60,000

	
	
	Corrective action plan as needed
	January 2003
	R$ 2,000

	
	
	Effluent Monitoring and corrective actions as needed
	October 2002
	R$ 2,000

	
	
	Develop Emergency Response and Contingency Plans 
	January 2003
	R$1,000

	
	Polo
	Air emission monitoring results from boilers, paint booths and welding operations and corrective actions as needed
	December 2002
	(Costs included in Ana Rech’s)

	
	
	Corrective actions as needed
	January 2003
	(Costs included in Ana Rech’s)

	
	
	Effluent Monitoring and corrective actions as needed
	October 2002
	(Costs included in Ana Rech’s)

	
	
	Workplace improvement plan
	December 2002
	R$ 1,000

	
	Planalto
	Air emission monitoring results from boilers, paint booths and welding operations and corrective actions as needed
	December 2002
	(Costs included in Ana Rech’s)

	
	
	Corrective action plan as needed
	January 2003
	R$ 2,000

	
	
	Effluent Monitoring and corrective actions as needed
	October 2002
	(Costs included in Ana Rech’s)

	
	MVC
	Wastewater Treatment Plant installation
	September 2003
	R$ 100,000

	
	
	Transport of Residues to Landfill MVC Caxias do Sul
	January 2003
	R$ 5,000

	
	
	Building of solid residues storage and handling areas
	July 2003
	R$ 30,000

	
	
	Environmental Assessment
	January 2003
	R$ 5,000

	
	
	Environmental Implementation
	February 2003
	(Costs included above)

	Duque de Caxias, RJ
	MVC
	Transport of Residues to Landfill MVC Rio
	October 2002
	R$5,000

	
	
	Building of solid residues storage and handling areas
	January 2003
	R$ 30,000

	
	
	Environmental Assessment
	October 2002
	R$ 5,000

	
	
	Environmental Implementation
	October 2002
	(Costs included above)

	
	
	Wastewater Treatment Installation
	September 2003
	(Costs included in MVC above)

	MÉXICO

	Monterrey
	Polomex
	Ambient air emissions, wastewater, workplace (noise, VOCs, particulate) concentration results and corrective actions as needed
	June 2003
	USD 15,000.


Josefina Doumbia
M:\Josefina\Env. Projects\Brazil\Marcopolo -\Marcopolo  CAP-11688.doc
October 16, 2002 5:10 PM
