Cartones America 

Corrective Action  Plan

	City, Country
	
	Action
	Implementation Deadline

	Cali, Colombia
	 Paper mill
	Upgrade wastewater treatment plant for industrial wastewater to achieve compliance with WB guidelines 
	December 2004

	Valencia, Venezuela
	VCC Corrugator Plant
	Wastewater treatment system for industrial wastewater to achieve compliance with WB guidelines
	December 2004

	Quito, Ecuador
	CRANSA

Corrugator Plant
	Upgradedfire prevention/response equipment
	March 2004

	Chincha, Peru
	Paper mill
	New septic tanks for domestic waters.

Upgrade wastewater treatment plant for industrial wastewater to achieve compliance with WB guidelines.

Zero effluents program
	December 2003

December 2003

December 2006

	Corporative
	All plants
	Emergency Response Plan training
	December 2003

	
	
	
	

	
	
	
	

	
	
	
	


Josefina Doumbia
M:\Josefina\Env. Projects\Colombia\CAME 20721\CAME- 20721 CAP.doc
May 5, 2003 2:51 PM
