PT Prakarsa Alam Segar and PT Karunia Alam Segar

 Environmental Action Plan

	Plant
	Action Plan Tasks
	Completion Date

	PT Prakarsa Alam Segar, Bekasi
	Have a fire and life safety review carried out by a qualified professional, and agree with IFC on a schedule for implementation of action items identified.
	Prior to first disbursement

	
	Install appropriate secondary containment for fuel oil tanks and drums and for water treatment acid and alkali tanks.
	December 31, 2004

	
	Design and install wastewater treatment system for process wastewater and (if possible) sanitary wastewater.
	December 31, 2004

	
	Install and bring into operation new gas-fired boiler.
	December 31, 2004

	
	Improve ventilation for noodle cooking lines.
	Prior to project completion

	
	Develop and begin implementation of an occupational health and safety plan to improve working conditions and sanitary practices and ensure use of PPE.
	Prior to final disbursement

	
	Improve site housekeeping, including cleanup of oily drains in fuel tank areas, cleanup of plastics waste dump area.
	Prior to project completion

	
	Design and implement an integrated environmental and health and safety management system, and achieve certification satisfactory to IFC to ISO 14001 and OHSAS 18001 standards or equivalent.
	To be agreed with IFC

	PT Karunia Alam Segar, Gresik
	Have a fire and life safety review carried out by a qualified professional, and agree with IFC on a schedule for implementation of action items identified.
	Prior to first disbursement

	
	Implement a scheduled monitoring program for air emissions, potable and process water, and wastewater emissions to meet IFC guideline requirements.
	Prior to final disbursement

	
	Bring wastewater treatment plant into operation.  Consider options for use of biogas and for treatment of sanitary waste in treatment plant.
	September 30, 2004

	
	Improve site housekeeping, including cleanup of plastics waste dump area and cooking oil delivery area.
	Prior to project completion

	
	Install appropriate secondary containment for fuel oil tanks and drums.
	December 31, 2004

	
	Improve ventilation for noodle cooking lines.
	Prior to project completion

	
	Develop and begin implementation of an occupational health and safety plan to improve working conditions and sanitary practices and ensure use of PPE.
	Prior to final disbursement

	
	Design and implement an integrated environmental and health and safety management system, and achieve certification satisfactory to IFC to ISO 14001 and OHSAS 18001 standards or equivalent.
	To be agreed with IFC


